## Лист1
Eng Sourse | Sin Sourse
Instruction for use | Ndú;d lsÍu i¦yd Wmfoia
Automatic Upper Arm Blood Pressure Monitor | iajhxlS%h reêr mSvk udmlh
1. INTRODUCTION | 1' ye¦skaùu
Thank you for purchasing the B.Well upper arm blood pressure monitor PRO-33. | B.well PRO-33 reêr mSvk udmlh ñ, §" .;a Tng ia;+;shs'
Designed for convenient and easy operation, this device provides fast and reliable measurement of systolic and diastolic blood pressure as well as heart rate using the oscillometric measurement method. | myiqfjka fukau f,fyisfhka Ndú;hg .; yelsùu uq,a lrf.k ks¾udKh lr ;sfnk fuu Wmdx.fhka" isiafgd,sla iy vhiafgd,sla reêr mSvkhka" läkñka fukau ksjerÈj;a uek.; yels h'tfukau" reêr iamkaokh o" fofHda,k udml l%ufõoh ^Oscillometric method& Ndú;fhka uek .ekSfï myiqlu fuu Wmdx.h i;= h'
The PRO-33 is a fully automatic, digital, upper arm blood pressure measuring device. | PRO-33 hkq mQ¾K iajhxlS%h" äcsg,a" reêr mSvk udmlhls'
Important advantages of PRO-33 | PRO-33 ys Ndú;fha jdis
Up-to-date IntellectClassic technology uses oscillometric measurement during deflation for quick, precise and painless result. | m%idrKh jk úgu" ksjerÈj" lsis÷ fõokdjlska f;drj" Oscillometric l%ufõoh mokï lr.;a kùk Intellect Active ;dlaIKh Ndú;fhka ñkqï ,nd.ekSfï yelshdj
The Pulse Arrhythmia Detection technology. | Pulse Arrythmia y÷kd.ekSfï ;dlaIKh
Last measurement memory for PRO-33. | ñkqï 30la .nvd lr ;nd.; yels u;lh
Fan-shape anatomic cuff for arm, washable. | wjdkl iajrEmfhka ilia lr ;sfnk ndyq wdjrKh' fiaÈh yelshs'
The possibility to use mains adapter. | m%Odk cjiemhqug iïnkaO jk wdfrdamlhla ^fuhskaia wevemag¾& Ndú;d l< yelsùu
This device is easy to use and has been proven in clinical studies to provide excellent accuracy. | fuu WmlrKh Ndú;d lsÍu b;d myiq w;r" Wiia ksrjoH;djhla iys;j ñKqï w.hka ,ndfok nj idhksl mÍlaIdj,ska ;yjqre ù ;sfí